## Sheet1
Staining order | Marker | Clone | Isotype | Channel | Concentration | Dilution | Company | Cat# | ug/rxn | n= vol= | Lot#
1 | CD172 | 72-22-15A | msIgG2b | --- | 1mg/ml | 20ul/ml | WSU | PG2031
2 | anti-ms IgG2b |  |  | BV421 |  | 10 ul/ml
1 | GD | PGBL22A | msIgG1 | -- | 1 mg/mL | 20 uL/mL | WSU | PG2032
2 | anti-ms IgG1 | A85-1 | rat | BUV395 | 0.2 mg/mL | 10 uL/mL | BD | 740234
1 | CD2 | MSA4 | msIgG2a | -- | 1 mg/mL | 20 uL/mL | 10ul/ml | PG2007
2 | anti-ms IgG2a | R19-15 | rat | BV650 | 0.2 mg/mL | 10 uL/mL | BD | 564024
3 | CD3 | BB23-8E6-8C8 | msIgG2a | DC-PE-Cy7 | 0.2mg/ml | 20 ul/ml | BD | 561477
3 | CD4 | 74-12-4 | msIgG2b | DC-PerCP-Cy5.5 | 0.2 mg/mL | 20 uL/mL | BD | 561474
3 | CD8a | 76-2-11 | msIgG2a | DC-PE | 0.2mg/ml | 25 ul/ml | BD | 559584
3 | CD27 (SWC2) | B30C7 | msIgG1 | DC-FITC | 0.1 mg/mL | 20 uL/mL | BioRad | MCA5973F
3 | CD21 | BB6-aac9.6 | msIgG1 | DC-AF647(APC) |  | 20 ul/ml
Collect whole blood into 4ml EDTA tube
Keep blood on rocker until ready to use
Pipette up 50ul of whole blood and expel to 2nd stop to prepare tip
Using the same tip transfer 50ul of blood to appropriate 5ml flow tubes
Expel to 2nd stop each time
Staining Protocol
1) Add 50ul of primary antibodies labeled #1 for 15min RT dark
Wash cells: Add 1ml PBS, centrifuge 500g for 3 min, pipette off supernatnat, do not take any cells
2) Add 50ul of secondary antibodies labeled #2 for 15min RT dark
Wash cells 2x as described in step 1
3) Add 50ul of direct conjugate antibodies labeled #3 for 15min RT dark
Wash cells as described in step 1
4) Add 1ml of FACS lyse per sample
5) Add 25ul of counting beads using repeat pipetter
6) Centrifuge samples, pipette off, resuspend with 200ul PBS
7) Take 200ul to 96 well plate for flow cytometer.